## UNC P
id | year | name | total utility $ | total energy $ | total btu | kwh | kwh $ | ng therms | ng $ | 2oil gals | 2oil $ | 6 oil gals | 6oil $ | propane gals | propane $ | coal tons | coal $ | wood tons | wood $ | steam klbs | steam $ | chw tons | chw $ | kgal water | water sewer $ | gsf | construction gsf | renovated A/C gsf | stm_eff_factor | chw_eff_factor | cogen_adj | Comments
60005012 | 2002-03 | UNC Pembroke | 2202259 | 1544747 | 115427334610 | 18800500 | 1031658 | 497310 | 487910 | 11169 | 25179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31002 | 657512 | 879823 | 0 | 0 | 1 | 1 | 0
60005012 | 2003-04 | UNC Pembroke | 2240470 | 1500769 | 110599887476 | 18838168 | 1036199 | 449158 | 441680 | 10154 | 22890 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34877 | 739701 | 879823 | 0 | 0 | 1 | 1 | 0
60005012 | 2004-05 | UNC Pembroke | 2318937 | 1497047 | 108632852564 | 19430792 | 1068894 | 405384 | 399653 | 12954 | 28500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38752 | 821890 | 879823 | 78901 | 0 | 1 | 1 | 0
60005012 | 2005-06 | UNC Pembroke | 2421553 | 1524097 | 113122320944 | 19479897 | 1071394 | 450617 | 443081 | 11502 | 9622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42314 | 897456 | 958724 | 89878 | 0 | 1 | 1 | 0
60005012 | 2006-07 | UNC Pembroke | 2872845 | 1889309 | 115078523722.4 | 20252400 | 1481650 | 440005 | 375742 | 10050 | 20115 | 0 | 0 | 6361.3 | 11802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46373 | 983536 | 1048602 | 66500 | 12000 | 1 | 1 | 0
60005012 | 2007-08 | UNC Pembroke | 3487824 | 2363427 | 132549716324.8 | 23274000 | 1756487 | 496375 | 532958 | 16252 | 43072 | 0 | 0 | 13610.1 | 30910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49505 | 1124397 | 1115102 | 0 | 0 | 1 | 1 | 0
60005012 | 2008-09 | UNC Pembroke | 3301682 | 2347171 | 137770773116 | 22771200 | 1783521 | 560255 | 485908 | 12878 | 29311 | 0 | 0 | 24702 | 48431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40049 | 954511 | 1115102 | 0 | 53000 | 1 | 1 | 0
60005012 | 2009-10 | UNC Pembroke | 3311439 | 2279965 | 132608024828.8 | 22747200 | 1843824 | 501448 | 343171 | 15000 | 35584 | 0 | 0 | 30218.1 | 57386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39155 | 1031474 | 1115102 | 0 | 20803 | 1 | 1 | 0
60005012 | 2010-11 | UNC Pembroke | 3275587.52 | 2263277.52 | 134720295218.6 | 22838400 | 1836240 | 524275 | 334134 | 12217.3 | 34029.52 | 0 | 0 | 29174.2 | 58874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38638 | 1012310 | 1115102 | 142000 | 0 | 1 | 1 | 0
60005012 | 2011-12 | UNC Pembroke | 3036044 | 2091140 | 128493972555.6 | 22281600 | 1744547 | 499845 | 284852 | 4073 | 12217 | 0 | 0 | 20947.2 | 49524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33482 | 944904 | 1257102 | 87593 | 0 | 1 | 1 | 0
60005012 | 2012-13 | UNC Pembroke | 2864681 | 1953904 | 121321248560 | 20356800 | 1627136 | 494526 | 285569 | 3000 | 9925 | 0 | 0 | 21770 | 31274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32858 | 910777 | 1344695 | 0 | 0 | 1 | 1 | 0
60005012 | 2013-14 | UNC Pembroke | 2829031 | 1981599 | 118019626707.6 | 19656000 | 1618507 | 484336 | 309944 | 2493 | 7789 | 0 | 0 | 23721.2 | 45359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29933 | 847432 | 1344695 | 0 | 0 | 1 | 1 | 0
60005012 | 2014-15 | UNC Pembroke | 2665505 | 1832455 | 109594192089.2 | 18408000 | 1578102 | 439226 | 206252 | 5651 | 10275 | 0 | 0 | 22692.9 | 37826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29425 | 833050 | 1344695 | 0 | 0 | 1 | 1 | 0
60005012 | 2015-16 | UNC Pembroke | 2611446 | 1791249 | 108204190107.52 | 18777600 | 1577367 | 418136 | 177822 | 2200 | 2998 | 0 | 0 | 22000.49 | 33062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28971 | 820197 | 1344695 | 0 | 0 | 1 | 1 | 0
60005012 | 2016-17 | UNC Pembroke | 2615325 | 1761609 | 102662196585.6 | 18460800 | 1518906 | 377816 | 219918 | 1000 | 1824 | 0 | 0 | 19134.7 | 20961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30155 | 853716 | 1344695 | 11298 | 0 | 1 | 1 | 0
60005012 | 2017-18 | UNC Pembroke | 3343573 | 2280439 | 125172988312 | 22802322 | 2043441 | 450500 | 200938 | 2200 | 2998 | 0 | 0 | 22001 | 33062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44583 | 1063134 | 1728143 | 0 | 0 | 1 | 1 | 0
60005012 | 2018-19 | UNC Pembroke | 2842529 | 1949853 | 159540322808 | 19236360 | 1642877 | 915650 | 272133 | 2700 | 2411 | 0 | 0 | 21456 | 32432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32291 | 892676 | 1728143 | 0 | 0 | 1 | 1 | 0
60005012 | 2019-20 | UNC Pembroke | 2635064.3 | 1824635.59 | 145840347894.4 | 18078520 | 1592255.18 | 817311 | 192924.41 | 4200 | 5000 | 0 | 0 | 20107.8 | 34456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27888.805 | 810428.71 | 1728143 | 68590 | 34904 | 1 | 1 | 0
60005012 | 2020-21 | UNC Pembroke | 3069183 | 2179055 | 155914389536 | 20474096 | 1920363 | 838015 | 210084 | 0 | 0 | 0 | 0 | 24608 | 48608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33428.25 | 890128 | 1796733 |  |  | 1 | 1 | 0
60005012 | 2021-22 | UNC Pembroke | 3384565.07 | 2604454.33 | 117846390772 | 19439353 | 2189653.03 | 494818 | 342980.96 | 0 | 0 | 0 | 0 | 22232 | 71820.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28113 | 780110.74 | 1796733 | 0 | 0 | 1 | 1 | 0
60005012 | 2022-23 | UNC Pembroke | 2930221.61 | 2232521.61 | 142667429388 | 18796327 | 1781926.22 | 762186 | 373418.1 | 0 | 0 | 0 | 0 | 25268 | 77177.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24640 | 697700 | 1796733 | 0 | 0 | 1 | 1 | 0
60005012 | 2023-24 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1796733 | 0 | 0 | 1 | 1 | 0
60005012 | 2024-25 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1796733 | 0 | 0 | 1 | 1 | 0
60005012 | 2025-26 | UNC Pembroke | 0 | 0 | 0
60005012 | 2026-27 | UNC Pembroke | 0 | 0 | 0
60005012 | 2027-28 | UNC Pembroke | 0 | 0 | 0
60005012 | 2028-29 | UNC Pembroke | 0 | 0 | 0
60005012 | 2029-30 | UNC Pembroke | 0 | 0 | 0
** Updated 08/20/2020 ** |  |  | energy evaluation | [5 empty] | water/sewer evaluation
|  |  | energy $ avoided | energy $/gsf | $/mmbtu | $/mmbtu %change | btu/sf | btu/sf %change | water $ avoided | $/kgal | $/kgal %change | gal/sf | gal/sf %change | Comments
60005012 | 2002-03 | UNC Pembroke |  | 1.7557 | 13.3829 |  | 131193.8135 |  |  | 21.2087 |  | 35.2366
60005012 | 2003-04 | UNC Pembroke | 65505.338 | 1.7058 | 13.5694 | 1.394% | 125706.9746 | -4.182% | -82184.2869 | 21.2088 | 0.0007168% | 39.6409 | 12.5%
60005012 | 2004-05 | UNC Pembroke | 93633.3597 | 1.7015 | 13.7808 | 2.974% | 123471.2579 | -5.886% | -164369.5164 | 21.209 | 0.00129% | 44.0452 | 25%
60005012 | 2005-06 | UNC Pembroke | 170518.8216 | 1.5897 | 13.473 | 0.6736% | 117992.5828 | -10.06% | -180954.5329 | 21.2094 | 0.00348% | 44.1357 | 25.26%
60005012 | 2006-07 | UNC Pembroke | 369256.8097 | 1.8017 | 16.4176 | 22.68% | 109744.7113 | -16.35% | -199871.5409 | 21.2092 | 0.002555% | 44.2236 | 25.5%
60005012 | 2007-08 | UNC Pembroke | 245076.0033 | 2.1195 | 17.8305 | 33.23% | 118867.7953 | -9.395% | -231955.805 | 22.7128 | 7.092% | 44.395 | 25.99%
60005012 | 2008-09 | UNC Pembroke | 145216.6249 | 2.1049 | 17.0368 | 27.3% | 123549.9292 | -5.826% | -18031.5388 | 23.8336 | 12.38% | 35.9151 | 1.925%
60005012 | 2009-10 | UNC Pembroke | 235314.9262 | 2.0446 | 17.1933 | 28.47% | 118920.0852 | -9.355% | 3620.6235 | 26.3434 | 24.21% | 35.1134 | -0.3498%
60005012 | 2010-11 | UNC Pembroke | 194444.3555 | 2.0297 | 16.7998 | 25.53% | 120814.3248 | -7.912% | 17146.2262 | 26.1999 | 23.53% | 34.6497 | -1.666%
60005012 | 2011-12 | UNC Pembroke | 592870.602 | 1.6635 | 16.2742 | 21.61% | 102214.4365 | -22.09% | 305185.8061 | 28.2213 | 33.06% | 26.6343 | -24.41%
60005012 | 2012-13 | UNC Pembroke | 887307.0639 | 1.453 | 16.1052 | 20.34% | 90222.1311 | -31.23% | 402599.1348 | 27.7186 | 30.69% | 24.4353 | -30.65%
60005012 | 2013-14 | UNC Pembroke | 980493.9611 | 1.4736 | 16.7904 | 25.46% | 87766.8369 | -33.1% | 494012.7952 | 28.311 | 33.49% | 22.2601 | -36.83%
60005012 | 2014-15 | UNC Pembroke | 1117279.4834 | 1.3627 | 16.7204 | 24.94% | 81501.1524 | -37.88% | 508394.7441 | 28.311 | 33.49% | 21.8823 | -37.9%
60005012 | 2015-16 | UNC Pembroke | 1129195.9789 | 1.3321 | 16.5543 | 23.7% | 80467.4592 | -38.67% | 521248.0318 | 28.311 | 33.49% | 21.5447 | -38.86%
60005012 | 2016-17 | UNC Pembroke | 1265556.1466 | 1.31 | 17.1593 | 28.22% | 76346.0834 | -41.81% | 487727.1715 | 28.3109 | 33.49% | 22.4252 | -36.36%
60005012 | 2017-18 | UNC Pembroke | 1850044.314 | 1.3196 | 18.2183 | 36.13% | 72432.0779 | -44.79% | 388953.5308 | 23.8462 | 12.44% | 25.7982 | -26.79%
60005012 | 2018-19 | UNC Pembroke | 821069.8716 | 1.1283 | 12.2217 | -8.676% | 92318.9359 | -29.63% | 790720.5842 | 27.6447 | 30.35% | 18.6854 | -46.97%
60005012 | 2019-20 | UNC Pembroke | 1011921.1998 | 1.0558 | 12.5112 | -6.513% | 84391.3657 | -35.67% | 959105.6078 | 29.0593 | 37.02% | 16.138 | -54.2%
60005012 | 2020-21 | UNC Pembroke | 1115364.4568 | 1.2128 | 13.976 | 4.432% | 86776.6048 | -33.86% | 795713.6003 | 26.628 | 25.55% | 18.605 | -47.2%
60005012 | 2021-22 | UNC Pembroke | 2605061.4868 | 1.4496 | 22.1004 | 65.14% | 65589.2616 | -50.01% | 976708.22 | 27.7491 | 30.84% | 15.6467 | -55.6%
60005012 | 2022-23 | UNC Pembroke | 1456130.829 | 1.2425 | 15.6484 | 16.93% | 79403.8009 | -39.48% | 1094993.1742 | 28.3157 | 33.51% | 13.7138 | -61.08%
60005012 | 2023-24 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
60005012 | 2024-25 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
60005012 | 2025-26 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
60005012 | 2026-27 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
60005012 | 2027-28 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
60005012 | 2028-29 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
60005012 | 2029-30 | UNC Pembroke | 0 | 0 | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0%
|  |  | $/kwh | $/therm | 2 oil $/gal | 6 oil $/gal | propane$/gal |  | coal $/ton | wood $/ton | steam $/mlb | chw $/ton
60005012 | 2002-03 | UNC Pembroke | 0.054874 | 0.9811 | 2.2544 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2003-04 | UNC Pembroke | 0.055005 | 0.98335 | 2.2543 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2004-05 | UNC Pembroke | 0.05501 | 0.98586 | 2.2001 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2005-06 | UNC Pembroke | 0.055 | 0.98328 | 0.83655 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2006-07 | UNC Pembroke | 0.073159 | 0.85395 | 2.0015 | 0 | 1.8553 |  | 0 | 0 | 0 | 0
60005012 | 2007-08 | UNC Pembroke | 0.07547 | 1.0737 | 2.6503 | 0 | 2.2711 |  | 0 | 0 | 0 | 0
60005012 | 2008-09 | UNC Pembroke | 0.078324 | 0.8673 | 2.2761 | 0 | 1.9606 |  | 0 | 0 | 0 | 0
60005012 | 2009-10 | UNC Pembroke | 0.081057 | 0.68436 | 2.3723 | 0 | 1.8991 |  | 0 | 0 | 0 | 0
60005012 | 2010-11 | UNC Pembroke | 0.080401 | 0.63733 | 2.7854 | 0 | 2.018 |  | 0 | 0 | 0 | 0
60005012 | 2011-12 | UNC Pembroke | 0.078295 | 0.56988 | 2.9995 | 0 | 2.3642 |  | 0 | 0 | 0 | 0
60005012 | 2012-13 | UNC Pembroke | 0.079931 | 0.57746 | 3.3083 | 0 | 1.4366 |  | 0 | 0 | 0 | 0
60005012 | 2013-14 | UNC Pembroke | 0.082342 | 0.63994 | 3.1243 | 0 | 1.9122 |  | 0 | 0 | 0 | 0
60005012 | 2014-15 | UNC Pembroke | 0.085729 | 0.46958 | 1.8183 | 0 | 1.6669 |  | 0 | 0 | 0 | 0
60005012 | 2015-16 | UNC Pembroke | 0.084003 | 0.42527 | 1.3627 | 0 | 1.5028 |  | 0 | 0 | 0 | 0
60005012 | 2016-17 | UNC Pembroke | 0.082277 | 0.58208 | 1.824 | 0 | 1.0954 |  | 0 | 0 | 0 | 0
60005012 | 2017-18 | UNC Pembroke | 0.089615 | 0.44603 | 1.3627 | 0 | 1.5027 |  | 0 | 0 | 0 | 0
60005012 | 2018-19 | UNC Pembroke | 0.085405 | 0.2972 | 0.89296 | 0 | 1.5116 |  | 0 | 0 | 0 | 0
60005012 | 2019-20 | UNC Pembroke | 0.088074 | 0.23605 | 1.1905 | 0 | 1.7136 |  | 0 | 0 | 0 | 0
60005012 | 2020-21 | UNC Pembroke | 0.093795 | 0.25069 | 0 | 0 | 1.9753 |  | 0 | 0 | 0 | 0
60005012 | 2021-22 | UNC Pembroke | 0.11264 | 0.69315 | 0 | 0 | 3.2305 |  | 0 | 0 | 0 | 0
60005012 | 2022-23 | UNC Pembroke | 0.094802 | 0.48993 | 0 | 0 | 3.0543 |  | 0 | 0 | 0 | 0
60005012 | 2023-24 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2024-25 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2025-26 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2026-27 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2027-28 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2028-29 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2029-30 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Cost per Therm (100,000 Btu) all Energy Sources
60005012 | 2002-03 | UNC Pembroke | 1.6083 | 0.9811 | 1.6103 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2003-04 | UNC Pembroke | 1.6121 | 0.98335 | 1.6102 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2004-05 | UNC Pembroke | 1.6123 | 0.98586 | 1.5715 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2005-06 | UNC Pembroke | 1.612 | 0.98328 | 0.59754 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2006-07 | UNC Pembroke | 2.1442 | 0.85395 | 1.4296 | 0 | 2.0166 |  | 0 | 0 | 0 | 0
60005012 | 2007-08 | UNC Pembroke | 2.2119 | 1.0737 | 1.893 | 0 | 2.4686 |  | 0 | 0 | 0 | 0
60005012 | 2008-09 | UNC Pembroke | 2.2955 | 0.8673 | 1.6258 | 0 | 2.1311 |  | 0 | 0 | 0 | 0
60005012 | 2009-10 | UNC Pembroke | 2.3757 | 0.68436 | 1.6945 | 0 | 2.0642 |  | 0 | 0 | 0 | 0
60005012 | 2010-11 | UNC Pembroke | 2.3564 | 0.63733 | 1.9895 | 0 | 2.1935 |  | 0 | 0 | 0 | 0
60005012 | 2011-12 | UNC Pembroke | 2.2947 | 0.56988 | 2.1425 | 0 | 2.5698 |  | 0 | 0 | 0 | 0
60005012 | 2012-13 | UNC Pembroke | 2.3426 | 0.57746 | 2.3631 | 0 | 1.5615 |  | 0 | 0 | 0 | 0
60005012 | 2013-14 | UNC Pembroke | 2.4133 | 0.63994 | 2.2317 | 0 | 2.0784 |  | 0 | 0 | 0 | 0
60005012 | 2014-15 | UNC Pembroke | 2.5126 | 0.46958 | 1.2988 | 0 | 1.8118 |  | 0 | 0 | 0 | 0
60005012 | 2015-16 | UNC Pembroke | 2.462 | 0.42527 | 0.97338 | 0 | 1.6335 |  | 0 | 0 | 0 | 0
60005012 | 2016-17 | UNC Pembroke | 2.4114 | 0.58208 | 1.3029 | 0 | 1.1907 |  | 0 | 0 | 0 | 0
60005012 | 2017-18 | UNC Pembroke | 2.6265 | 0.44603 | 0.97338 | 0 | 1.6334 |  | 0 | 0 | 0 | 0
60005012 | 2018-19 | UNC Pembroke | 2.5031 | 0.2972 | 0.63783 | 0 | 1.643 |  | 0 | 0 | 0 | 0
60005012 | 2019-20 | UNC Pembroke | 2.5813 | 0.23605 | 0.85034 | 0 | 1.8626 |  | 0 | 0 | 0 | 0
60005012 | 2020-21 | UNC Pembroke | 2.749 | 0.25069 | 0 | 0 | 2.1471 |  | 0 | 0 | 0 | 0
60005012 | 2021-22 | UNC Pembroke | 3.3013 | 0.69315 | 0 | 0 | 3.5114 |  | 0 | 0 | 0 | 0
60005012 | 2022-23 | UNC Pembroke | 2.7785 | 0.48993 | 0 | 0 | 3.3199 |  | 0 | 0 | 0 | 0
60005012 | 2023-24 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2024-25 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2025-26 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2026-27 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2027-28 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2028-29 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
60005012 | 2029-30 | UNC Pembroke | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Note: I have updated the spreadsheet. This amount includes lighting and SF of the parking lots

## Access Import (hidden)
USI ID | Year | Name | Sector Name | Sector ID | Total Utility $ | Total Energy $ | Total Btu | kWh | kWh $ | NG Therms | NG $ | 2 Oil Gals | 2 Oil $ | 6 Oil Gals | 6 Oil $ | Propane Gals | Propane $ | Coal Tons | Coal $ | Wood Tons | Wood $ | Steam Klbs | Steam $ | Chw Tons | Chw $ | Kgal Water | Water Sewer $ | GSF | Construction GSF | Renovated A/C GSF | Stm_Eff_Factor | Chw_Eff_Factor | Cogen_Kwh | Kgal Potable Water | Potable Water $ | Kgal Nonpotable Water | Nonpotable Water $ | kWh Produced by CTGs | Source - Site BTU/kWh | Cogen Adjustment, MMBtu | Reuse Water $ | Stormwater $ | $/Gal Nonpotable
60005012 | 2002-03 | UNC Pembroke | UNC System | 2 | 2202259 | 1544747 | 115427334610 | 18800500 | 1031658 | 497310 | 487910 | 11169 | 25179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31002 | 657512 | 879823 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2003-04 | UNC Pembroke | UNC System | 2 | 2240470 | 1500769 | 110599887476 | 18838168 | 1036199 | 449158 | 441680 | 10154 | 22890 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34877 | 739701 | 879823 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2004-05 | UNC Pembroke | UNC System | 2 | 2318937 | 1497047 | 108632852564 | 19430792 | 1068894 | 405384 | 399653 | 12954 | 28500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38752 | 821890 | 879823 | 78901 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2005-06 | UNC Pembroke | UNC System | 2 | 2421553 | 1524097 | 113122320944 | 19479897 | 1071394 | 450617 | 443081 | 11502 | 9622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42314 | 897456 | 958724 | 89878 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2006-07 | UNC Pembroke | UNC System | 2 | 2872845 | 1889309 | 115078523722.4 | 20252400 | 1481650 | 440005 | 375742 | 10050 | 20115 | 0 | 0 | 6361.3 | 11802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46373 | 983536 | 1048602 | 66500 | 12000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2007-08 | UNC Pembroke | UNC System | 2 | 3487824 | 2363427 | 132549716324.8 | 23274000 | 1756487 | 496375 | 532958 | 16252 | 43072 | 0 | 0 | 13610.1 | 30910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49505 | 1124397 | 1115102 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2008-09 | UNC Pembroke | UNC System | 2 | 3301682 | 2347171 | 137770773116 | 22771200 | 1783521 | 560255 | 485908 | 12878 | 29311 | 0 | 0 | 24702 | 48431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40049 | 954511 | 1115102 | 0 | 53000 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2009-10 | UNC Pembroke | UNC System | 2 | 3311439 | 2279965 | 132608024828.8 | 22747200 | 1843824 | 501448 | 343171 | 15000 | 35584 | 0 | 0 | 30218.1 | 57386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39155 | 1031474 | 1115102 | 0 | 20803 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2010-11 | UNC Pembroke | UNC System | 2 | 3275587.52 | 2263277.52 | 134720295218.6 | 22838400 | 1836240 | 524275 | 334134 | 12217.3 | 34029.52 | 0 | 0 | 29174.2 | 58874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38638 | 1012310 | 1115102 | 142000 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2011-12 | UNC Pembroke | UNC System | 2 | 3036044 | 2091140 | 128493972555.6 | 22281600 | 1744547 | 499845 | 284852 | 4073 | 12217 | 0 | 0 | 20947.2 | 49524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33482 | 944904 | 1257102 | 87593 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2012-13 | UNC Pembroke | UNC System | 2 | 2864681 | 1953904 | 121321248560 | 20356800 | 1627136 | 494526 | 285569 | 3000 | 9925 | 0 | 0 | 21770 | 31274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32858 | 910777 | 1344695 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2013-14 | UNC Pembroke | UNC System | 2 | 2829031 | 1981599 | 118019626707.6 | 19656000 | 1618507 | 484336 | 309944 | 2493 | 7789 | 0 | 0 | 23721.2 | 45359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29933 | 847432 | 1344695 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2014-15 | UNC Pembroke | UNC System | 2 | 2665505 | 1832455 | 109594192089.2 | 18408000 | 1578102 | 439226 | 206252 | 5651 | 10275 | 0 | 0 | 22692.9 | 37826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29425 | 833050 | 1344695 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2015-16 | UNC Pembroke | UNC System | 2 | 2611446 | 1791249 | 108204190107.52 | 18777600 | 1577367 | 418136 | 177822 | 2200 | 2998 | 0 | 0 | 22000.49 | 33062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28971 | 820197 | 1344695 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2016-17 | UNC Pembroke | UNC System | 2 | 2615325 | 1761609 | 102662196585.6 | 18460800 | 1518906 | 377816 | 219918 | 1000 | 1824 | 0 | 0 | 19134.7 | 20961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30155 | 853716 | 1344695 | 11298 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2017-18 | UNC Pembroke | UNC System | 2 | 3343573 | 2280439 | 125172988312 | 22802322 | 2043441 | 450500 | 200938 | 2200 | 2998 | 0 | 0 | 22001 | 33062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44583 | 1063134 | 1728143 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2018-19 | UNC Pembroke | UNC System | 2 | 2842529 | 1949853 | 159540322808 | 19236360 | 1642877 | 915650 | 272133 | 2700 | 2411 | 0 | 0 | 21456 | 32432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32291 | 892676 | 1728143 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2019-20 | UNC Pembroke | UNC System | 2 | 2635064.3 | 1824635.59 | 145840347894.4 | 18078520 | 1592255.18 | 817311 | 192924.41 | 4200 | 5000 | 0 | 0 | 20107.8 | 34456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27888.805 | 810428.71 | 1728143 | 68590 | 34904 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2020-21 | UNC Pembroke | UNC System | 2 | 3069183 | 2179055 | 155914389536 | 20474096 | 1920363 | 838015 | 210084 | 0 | 0 | 0 | 0 | 24608 | 48608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33428.25 | 890128 | 1796733 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2021-22 | UNC Pembroke | UNC System | 2 | 3384565.07 | 2604454.33 | 117846390772 | 19439353 | 2189653.03 | 494818 | 342980.96 | 0 | 0 | 0 | 0 | 22232 | 71820.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28113 | 780110.74 | 1796733 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2022-23 | UNC Pembroke | UNC System | 2 | 2930221.61 | 2232521.61 | 142667429388 | 18796327 | 1781926.22 | 762186 | 373418.1 | 0 | 0 | 0 | 0 | 25268 | 77177.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24640 | 697700 | 1796733 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2023-24 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1796733 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2024-25 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1796733 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2025-26 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2026-27 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2027-28 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2028-29 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60005012 | 2029-30 | UNC Pembroke | UNC System | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0